Protocol

PART I

- Set the hot plate to 56º C ( “LOW” on the hot plate on top of the rotating platform)

- If there is any precipitate in buffer ATL, place container in 56º C incubator until dissolved (the incubator with the door)

- Write down all sample IDs in lab notebook with tissue types

- Label 1.5 ml microcentrifuge tubes 1-i (“i” being the number of your last sample)

- Add 180 ul of buffer ATL to each tube

- Place ~25 mg of tissue in each tube (a small piece about the size of a small nerd)

- Two options:

  - For “tough” tissues (e.g., skeletal muscle, heart, tail)

    - Place a homogenization bead into each tube

    - Use TissueLyser to homogenize each (25 Hz, 20 seconds)

  - For “softer” tissues (e.g., liver, brain)

    - Skip to step

- Add 20 ul of proteinase K to each tube (NOTE: change tip for every sample)

- Place tubes on 56ºC hot plate and turn on rotating platform

- Leave samples for a minimum of 2 hours for soft tissue (e.g., liver, brain), 5 hours for tougher tissue (heart, skeletal muscle), and 7 hours for very tough tissue (tail)

PART II

- Label spin columns 1-i (“i” being the number of your last sample)

- Label microcentrifuge tubes with information for DNA extraction as follows:

- Vortex each sample for 15 seconds

- Do this for each sample one at a time:

  - Add 200 ul Buffer AL to the sample

  - Vortex the sample for 5 seconds

  - Add 200 ul ethanol (molecular grade) to the sample

  - Vortex the sample for 5 seconds

- For each sample, pipette the mixture from step II.2 (400 ul) into your labeled spin columns that are placed in collection tubes

- Centrifuge at 6000 x g (8000 rpm) for 1 min

- Discard flow through and collection tube and place spin column in new collection tube (make sure discarded collection tube isn’t mixed with bleach in trash!)

- Add 500 ul Buffer AW1 to each spin column (NOTE: change tips for every sample)

- Centrifuge at 6000 x g (8000 rpm) for 1 min

- Discard flow through and collection tube and place spin column in new collection tube

- Add 500 ul Buffer AW2 to each spin column (NOTE: change tips for every sample)

- Centrifuge at 20,000 x g (14,000 rpm) for 3 minutes

- Carefully discard flow through and collection tube and place spin column in labeled 1.5 ml microcentrifuge tube (NOTE: during discard, column of spin column can’t come into contact with flow through)